## Sheet1
Project | Location | Rated Power | Rated Energy | Application | In Operation since | Battery Model | PCS Model | Number of BESS Enclosures | Number of PCS Skids | BESS Expected number of cycles/year | Average Annual Resting SOC | Site Ambient Temperature Range (°C)
Golden Triangle II | Lowndes County, Mississippi | 50 MW | 200 MWh | Reducing curtailment of excess renewable generation | 2024-05-01 | Air Cooled Gen 2 BESS Enclosure | EPC Power CAB 1000 | 90 | 15 | 380 | ≤50% | -10 deg C to 45 deg C
Happy Valley | Nampa, Idaho | 82 MW | 328 MWh | Resource Adequacy | 2025-06-01 | Air Cooled Gen 2 BESS Enclosure | Sungrow SC4000 | 146 | 26 | 365 | ≤50% | -30 deg C to 45 deg C